## Slide 1
1
Year & Sem. – B. Tech II year, Sem.-III
Subject –Electrical Machine – I
Presented by – Sunil Kr Sharma
Designation - Assistant Professor
Department - Electrical Engineering
JAIPUR ENGINEERING COLLEGE AND RESEARCH CENTRE

## Slide 2
1
VISSION OF INSTITUTE
To become a renowned centre of outcome based learning, and work towards academic, professional, cultural and social enrichment of the lives of individuals and communities.

## Slide 3
1
MISSION OF INSTITUTE
Focus on evaluation of learning outcomes and motivate students to inculcate research aptitude by project based learning.
Identify, based on informed perception of Indian, regional and global needs, the areas of focus and provide platform to gain knowledge and solutions.
Offer opportunities for interaction between academia and industry.
Develop human potential to its fullest extent so that intellectually capable and imaginatively gifted leaders may emerge.

## Slide 4
1
Vision of the Department
The Electrical Engineering Department strives to be recognized globally for outcome based technical knowledge and to produce quality human being who can manage the advance technologies and contribute to society. .

## Slide 5
1
Mission of the Department
To impart quality technical knowledge to the learners to make them
globally competitive Electrical engineers.
To provide the learners ethical guidelines along with excellent academic environment for a long productive career.
To promote industry-institute relationship.

## Slide 6
1
Electrical Machine-I : Course Outcomes
Students will be able to:
CO1: To understand the basic concept of AC Machine (Transformer) and DC machine.
CO2: Analysis the response of AC/DC electrical Machine.
CO3: To control the performance and operation of transformer and DC machines.

## Slide 7
1
Introduction To Syllabus

## Slide 8
1
JAIPUR ENGINEERING COLLEGE AND RESEARCH CENTRE |  |  | 
DEPARTMENT OF ELECTRICAL ENGINEERING |  |  | 
LECTURE PLAN SESSION 2020-21 |  |  | 
Subject: 3EE4-07: Electrical Machine-I |  | Year/Sem: II/ III | 
No. of Lecture Reqd./(Avl.) : 42/(__) |  |  | 
Semester Starting: 01.07.2020 Semester Ending: |  |  | 
Unit No./ Total Lecture Reqd. | Lect. No. | Topics | Remarks
Unit-I (6) | 1 | Introduction of Subject. | 
 | 2 | Magnetic fields and magnetic circuits | 
 | 3 | Review of magnetic circuits - MMF, flux, reluctance, inductance; | 
 | 4 | review of Ampere Law and Biot Savart Law; | 
 | 5 | Visualization of magnetic fields produced by a bar magnet and a current carrying coil - through air and through a combination of iron and air | 
 | 6 | influence of highly permeable materials on the magnetic flux lines. | 

## Slide 9
1
Unit-II (9) | 7 | Electromagnetic force and torque | 
 | 8 | B-H curve of magnetic materials; | 
 | 9 | flux-linkage v/s current characteristic of magnetic circuits | 
 | 10 | linear and nonlinear magnetic circuits; | 
 | 11 | energy stored in the magnetic circuit | 
 | 12 | force as a partial derivative of stored energy with respect to position of a moving element | 
 | 13 | torque as a partial derivative of stored energy with respect to angular position of a rotating element. Examples - galvanometer coil | 
 | 14 | relay contact, lifting magnet, | 
 | 15 | rotating element with eccentricity or saliency | 

## Slide 10
1
Unit-III (8) | 16 | Basic introduction and construction of a DC machine, | 
 | 17 | magnetic structure - stator yoke, stator poles, pole-faces or shoes, air gap and armature core | 
 | 18 | visualization of magnetic field produced by the field winding excitation with armature winding open | 
 | 19 | air gap flux density distribution, flux per pole, induced EMF in an armature coil. | 
 | 20 | Armature winding and commutation – Elementary armature coil and commutator, lap and wave windings | 
 | 21 | construction of commutator, linear commutation Derivation of back EMF equation | 
 | 22 | armature MMF wave, derivation of torque equation | 
 | 23 | armature reaction, air gap flux density distribution with armature reaction. | 

## Slide 11
1
Unit- IV (7) | 24 | Armature circuit equation for motoring and generation | 
 | 25 | Types of field excitations – separately excited, shunt and series. | 
 | 26 | Open circuit characteristic of separately excited DC generator | 
 | 27 | back EMF with armature reaction, voltage build-up in a shunt generator, | 
 | 28 | critical field resistance and critical speed. | 
 | 29 | V-I characteristics and torquespeed characteristics of separately excited, shunt and series motors. | 
 | 30 | Speed control through armature voltage. Losses, load testing and back-to-back testing of DC machines. | 

## Slide 12
1
Unit- V (12) | 31 | Transformers introduction and Principle
 | 32 | construction and operation of single-phase transformers
 | 33 | equivalent circuit, phasor diagram,
 | 34 | voltage regulation, losses
 | 35 | efficiency Testing - open circuit and short circuit tests, polarity test, back-to-back test
 | 36 | separation of hysteresis and eddy current losses Three-phase. transformer - construction
 | 37 | types of connection and their comparative features, Parallel operation of single-phase and three-phase transformers
 | 38 | Autotransformers - construction, principle, applications and comparison with two winding transformer
 | 39 | Magnetizing current, effect of nonlinear B-H curve of magnetic core material, harmonics in magnetization current
 | 40 | Phase conversion - Scott connection, three-phase to six-phase conversion,
 | 41 | Tap-changing transformers - No-load and on-load tap-changing of transformers
 | 42 | Three-winding transformers. Cooling of transformers.

## Slide 13
1
Text Book:
Kothari & Nagrath, Electric Machines, 3/e, TMH
References:
1)M. G. Say, The Performance and Design of AC machines, Pit man & Sons.
2) Guru, Electric Machinery, 3e, Oxford
3)P. S. Bimbhra, Electrical Machinery, Khanna Pub.
4) Husain Ashfaq, Electrical Machines, DhanpatRai& Sons Cengage Learning.
6) NPTEL Video Lectures

## Slide 14
1
Unit-I (Magnetic fields and magnetic circuits)
Introduction : In fig. a magnetic material of regular geometric shape called core. A coil having a number of turns (= N) of conducting material (say copper) are wound over the core. This coil is called the exciting coil.
When no current flows through the coil, we don’t expect any magnetic field or lines of forces to be present inside the core. However in presence of current in the coil, magnetic flux f will be produced within the core. The strength of the flux, it will be shown, depends on the product of number of turns (N) of the coil and the current (i) it carries. The quantity Ni called mmf (magnetomotive force) .

## Slide 15
1

## Slide 16
1

## Slide 17
1
Objective

## Slide 18
1
Analogy

## Slide 19
1
Definitions:

## Slide 20
1

## Slide 21
1

## Slide 22
1

## Slide 23
1

## Slide 24
1

## Slide 25: Biot -Savart law
1
25

## Slide 26
1
26

## Slide 27
1

## Slide 28
1

## Slide 29
1
Assignment
Q 1 Define These – a) MMF b) Reluctance c) Permeability d) Magnetic Field.
Q 2 What is analogy between electric and magnetic circuit?
Q 3 Explain Ampere and Biot-Savart law.

## Slide 30
1
Suggested links from NPTEL & other Platforms:
https://nptel.ac.in/content/storage2/courses/108105053/pdf/L-21(TB)(ET)%20((EE)NPTEL).pdf

## Slide 31
1
Thank You